CHAPTER 1

1	LITERATUE REVIEW AND EXPERIMENTAL PROPOSAL

1.1		Introduction

Adrenal insufficiency can be caused by a defect in the adrenal glands, pituitary gland or the hypothalamus and is termed primary-, secondary- or tertiary adrenal insufficiency respectively. All forms of adrenal insufficiency leads to an inadequate basal or stress level of plasma cortisol. Cortisol has an important role in the body’s ability to cope with stresses such as surgery, hypotension and infection and it is therefore vital to diagnose this uncommon disorder for failure to do so may be fatal.

1.2		Adrenal physiology

The adrenal glands are situated on the superior poles of the kidneys and consist of two distinct parts, the medulla and the cortex. The adrenal medulla is the central part of the gland and secretes epinephrine and norepinephrine in response to sympathetic stimulation. The adrenal cortex is the outer part of the gland and consists of the zona glomerulosa, zona fasciculata and the zona reticularis. The zona glomerulosa is the thin layer of cells just under the capsule and is responsible for production and secretion of aldosterone (mineralocorticoid). The zona fasciculata is the middle layer of the adrenal cortex and is responsible for production of glucocorticoids, cortisol and corticosterone, and small amounts of adrenal androgens and estrogens. The zona reticularis is responsible for the production of the adrenal androgens, dehydroepiandrosterone (DHEA) and androstenedione as well as small amounts of estrogens and glucocorticoids. (Guyton & Hall, 2000).

1.2.1		Regulation of cortisol

Cortisol mediates the body’s response to stress by means of increased protein catabolism, increased hepatic gluconeogenesis and glycogen synthesis and sensitizing arterioles to the action noradrenaline. Cortisol production is tightly regulated by means of negative feedback on the hypothalamic-pituitary- adrenal (HPA) axis. Low levels of cortisol will stimulate the hypothalamus to produce corticotrophin releasing hormone (CRH), CRH then stimulates the pituitary to produce adrenocorticotropic hormone (ACTH) which in turn stimulates the adrenal cortex to synthesize more cortisol. Plasma cortisol concentrations show a diurnal variation with the highest concentrations in the morning and the lowest concentrations at night (Marshall & Bangert, 2008).

1.2.2		Regulation of aldosterone

Aldosterone is not under central control and ACTH is not a major stimulant for its secretion. Aldosterone secretion is stimulated through the action of the renin-angiotensin system (Fig.1.1)

Figure 1.1:	Renin-angiotensin-aldosterone system (Wikipedia, 2006)

1.2.3		Biosynthesis of adrenal steroid hormones

Adrenal steroids are produced from a common cholesterol substrate (Fig 1.2)

Figure 1.2:	Adrenal steroidogenesis (Wikipedia, 2008)

1.3		Pathophysiology of adrenal insufficiency

Patients with adrenal insufficiency can present with different signs and symptoms including the following: tiredness, weakness, mental depression, anorexia, weight loss, nausea, vomiting, diarrhea, dizziness, orthostatic hypotension, hyponatraemia, hypoglycaemia, mild normocytic anaemia, lymphocytosis and eosinophilia. Hyperpigmentation, hyperkalaemia and vitiligo is associated with Addison’s disease (primary adrenal insufficiency-PAI) but not with secondary adrenal insufficiency (SAI). (Oelkers, 1996). The clinical features are however non-specific and the diagnosis could be missed until the patient presents with an acute adrenal insufficiency (Wallace et al, 2009). A high index of suspicion is therefore required.

1.3.1		Epidemiology

Seventy years ago, it was demonstrated that approximately 70% of patients with PAI was due to tuberculosis (TB) (Kelestimur, 2004) but currently autoimmune disease accounts for most of the cases presenting outside of the newborn period in first world countries (Ten et al, 2001) due to the significant decrease in TB prevalence in these countries. TB remains a major cause of PAI in developing countries. The prevalence of PAI has been reported as 93-140 per million in white populations.

SAI on the other hand is much more common with estimated prevalence of 150-280 per million (Wiebke & Bruno, 2003). In active tuberculosis, the incidence of adrenal involvement is 5% (Lam & Lo, 2001).

1.3.2		Primary adrenal insufficiency

Addison’s disease or PAI was first described by Dr Thomas Addison in 1855. PAI can be defined as the primary inability of the adrenal cortex to synthesize and secrete glucocorticoids (cortisol) and mineralocorticoids (aldosterone). In response to the decreased level of cortisol the pituitary is stimulated to produce ACTH in an effort to stimulate the adrenal glands. (Nieman et al, 2006). All causes of PAI involve the adrenal cortex resulting in a deficiency of cortisol, aldosterone and adrenal androgens; the severity of deficiency may however vary amongst different etiologies.

1.3.2.1	Causes of PAI

Causes of PAI include the following:

- Autoimmune adrenalitis (isolated or as part of autoimmune polyglandular syndrome)

- Infectious adrenalitis (due to TB, aquired imunnodeficiency syndrome-AIDS or fungal infection)

- Genetic disorders (adrenoleukodystrophy, congenital adrenal hyperplasia, etc)

- Bilateral adrenal haemorrhage (septic shock, Waterhouse-Friderichsen syndrome)

- Adrenal infiltration (adrenal metastasis, sarcoidosis, amyloidosis, etc)

- Drug-induced adrenal insufficiency (treatment with mitotane, etomidate, ketoconazole and mifepristone) (Wiebke & Bruno, 2003).

In a study done in South Africa by Soule (1999), it has been reported that the probable etiology of Addison’s disease was idiopathic in 42%, related to active TB in 18%, old TB in 16%, autoimmunity in 12%, malignancies with metastasis in 6% and single cases due to sarcoid, iron overload and adrenoleukodystrophy.

1.3.3		Secondary adrenal insufficiency

In SAI the pituitary gland does not produce sufficient ACTH despite sub-normal cortisol concentrations. In the absence ACTH stimulation adrenal atrophy occurs, this leads to an inadequate corticosteroid stress response.  Mineralocorticoid production is usually not affected in patients with SAI.

1.3.3.1	Causes of SAI

Causes of SAI include the following:

- Pituitary tumours

- Hypothalamic tumours

- Pituitary surgery or irradiation

- Lymphocytic hypophysitis

- Postpartum pituitary necrosis (Sheehan’s syndrome)

- Long-term glucocorticoid therapy

- Pituitary infiltration (TB, sarcoidosis, histiocytosis, actinomycosis, Wegeners granulomatosis etc.).

- Head trauma

- Isolated congenital ACTH deficiency (Wiebke & Bruno, 2003).

1.4		Effect of tuberculosis on the HPA

In the Early stages of TB the adrenals undergo hyperplasia which is later   followed by profound atrophy. Based on these findings one would expect these patients to suffer from adrenal insufficiency.

When steroid metabolites were analyzed in 24 hour urine samples of patients with TB the findings were as follows:

- Decreased levels of some androgens especially dehydroepiandrosterone (opposes many glucocorticoid effects)

- Decreased excretion of glucocorticoid derivatives

- Normal excretion of tetrahydrocortisol (metabolite most closely related to cortisol)

- Decreased excretion of cortisone derivatives

These findings can possibly be due to a decreased conversion of cortisol to cortisone due to lack of the catalyzing enzyme (11β-hydroxysteroid dehydrogenase).

There is thus a paradoxical state postulated for adrenal function in active tuberculosis. Glucocorticoid activity is increased, despite atrophic adrenals. There is however failure to increase cortisol secretion in response to stress, with deleterious consequences for the immune system (Baker et al, 1996).

1.5		Diagnosis of adrenal insufficiency

1.5.1		Morning cortisol and ACTH

To diagnose adrenal insufficiency a cortisol deficiency should be demonstrated. Cortisol shows diurnal variation with the concentration the highest in the morning and the lowest at night. Blood for the measurement of plasma cortisol should be collected between 08:00 and 09:00am. Morning plasma cortisol concentrations of ≤ 100nmol/L are indicative of adrenal insufficiency and obviate the need for other tests, whereas concentrations of ≥ 500nmol/L rule out the disorder. All other patients need dynamic testing to establish a diagnosis (Wallace et al, 2009). If the patient is thought to have PAI, basal plasma ACTH and cortisol can be measured. In patients with PAI, plasma ACTH concentrations invariably exceed 100ng/L, even if the plasma cortisol is in the normal range. In SAI plasma ACTH concentrations are generally undetectable but low or normal values (5-50ng/L) can also be found in these patients (Wallace et al, 2009).

1.5.2		Dynamic testing

A number of stimulation or suppression tests (ACTH stimulation, insulin tolerance test [ITT], metyparone suppression and glucagon stimulation) could be done in order to diagnose adrenal insufficiency (Wallace et al, 2009).

1.5.2.1	ACTH stimulation test

Two variants of this test exist, the standard dose and low dose ACTH stimulation tests.

1.5.2.1.1	Short standard dose ACTH stimulation test

The standard (high-dose) ACTH stimulation test is performed by administering one ampoule (250µg) of cosyntropin (synachten) intramuscularly (IM) or intravenously (IV) and measuring serum or plasma cortisol levels 30 to 60 minutes later. With a normal (negative) test result, the serum cortisol level after cosyntropin stimulation is generally greater than 500nmol/L. A subnormal cortisol response (< 500nmol/L) is defined as a positive test result and indicates an increased probability of either primary or secondary adrenal insufficiency. The ACTH stimulation test can be performed any time of the day.

In patients with suspected adrenal insufficiency, a basal plasma cortisol level is not usually necessary because neither the absolute nor the percentage change from the basal level is useful as a diagnostic criterion for the ACTH stimulation test. (Grinspoon & Biller, 1994).

Dorin et al (2003) did a data analysis on the ACTH stimulation test as a utility for evaluating adrenal insufficiency. They also looked at the response to the high-dose ACTH stimulation test in normal individuals where 10 studies with a total of 288 patients were included. The post stimulation cortisol levels ranged from 415 – 2200nmol/L. The studies described show that an appreciable number of normal persons will have a post stimulation cortisol level less than a cutoff limit of 500nmol/L. However, none of the 288 participants in the 10 studies described earlier had a cortisol level less than 415nmol/L. Therefore, if the diagnostic application of the ACTH stimulation test can be restricted to PAI on the basis of clinical or non steroid laboratory findings, it may be useful to use a lower cortisol cutoff level, such as 415nmol/L. In clinical practice, this distinction is not always possible and a higher cortisol cutoff level (500-600nmol/L) should be applied to achieve a reasonable level of sensitivity in secondary adrenal insufficiency. The risk of a higher cutoff level for PAI is a false positive ACTH stimulation test, leading to potentially lifelong, physiologic corticosteroid replacement for the euadrenal patient. This can be avoided by using adjunctive tests, such as the plasma ACTH test, to confirm the diagnosis of PAI.

This test is the most widely used for PAI or prolonged SAI; there is however controversy if this tests accurately predicts early SAI.

1.5.2.1.2	Low dose ACTH stimulation test

The low dose ACTH stimulation test has been shown to correlate well with the ITT, the gold standard in assessment of the HPA axis, in patients with sub-clinical/early SAI, where the standard dose tests are sometimes normal with a subnormal ITT response (Doi et al, 2006). This test is performed in the same way as the standard dose ACTH stimulation test but 1ug cosyntropin is given IV in stead of the 250ug of the standard dose test. The best time for post stimulation sampling is at 30 minutes (Doi et al, 2006). A post stimulation cortisol concentration of >500nmol/L is considered a normal response, no baseline cortisol value is required and the test can be done at any time (Thaler & Blevins, 1998). It has therefore been proposed that the low dose stimulation test must be used to screen for suspected SAI.

1.5.2.2	Insulin tolerance test

This test is considered the gold standard for assessing the HPA. The test principle is based on the fact that the insulin induced hypoglycemia (glucose<2.2mmol/L) will translate into a rise in cortisol as part of the stress response to hypoglycemia. The ITT is contra indicated in epilepsy, ischemic heart disease, cerebrovascular disease and untreated hypothyroidism; it should always be conducted in specialist centers where the complications can be treated. Patients are given between 0.1 and 0.2U/kg actrapid  (short acting insulin) IV (depending on expected pituitary function) and samples are collected at 0, 15, 30, 45, 60, 90 and 120 minutes for determination of glucose. Samples are collected at 0, 30, 60, 90 and 120 minutes for cortisol and growth hormone (GH). If after 45 minutes the blood glucose level is not < 2.2mmol/L and the patient is not clinically hypoglycemic, half the original dose of insulin should be given and samples collected at 75 and 150 minutes for glucose, cortisol and GH. A normal response for cortisol is to rise above 550nmol/L and GH levels should increase to > 20 mU/L. This test is however labor intensive and accompanied by considerable risk (including hypoadrenal crisis). (Marshall & Bangert, 2008).

1.5.2.3	Metyparone test

This test is not routinely done due to limited availability of metyparone as well as variation in the 11-deoxycortisol assays. Metyparone inhibits the adrenal enzyme responsible for conversion of 11-deoxycortisol to cortisol (11ß-hydroxylase). 30mg/kg of Metyparone is given to the patient at midnight and blood is collected at 08:00 the next morning for determination of cortisol and 11-deoxycortisol. A cortisol value of             < 200nmol/L confirms sufficient enzyme inhibition. In normal patients the morning cortisol will be low but there will be a significant rise in the 11-deoxycortisol.

If the low cortisol is accompanied by a post metyparone 11-deoxycortisol concentration of <200nmol/L, adrenal insufficiency is implicated (Wallace et al, 2009). The risks involved in performing this test are small; however a hypoadrenal crisis is a possibility in patients with adrenal insufficiency.

1.5.2.4	Glucagon stimulation test

This test is not routinely used due to variable cortisol responses as well as side effects including nausea and vomiting. It can however be used in patients where the ITT is contra-indicated.

1.5.3		Differential diagnosis

All dynamic tests mentioned in the previous section will give an indication of adrenal insufficiency but cannot distinguish between PAI and central adrenal insufficiency (SAI and tertiary adrenal insufficiency). Other tests are therefore required to make this differentiation.

1.5.3.1	ACTH concentration

In patients with PAI, plasma ACTH concentrations invariably exceed 100ng/L, even if the plasma cortisol is in the normal range. In central adrenal insufficiency plasma ACTH concentrations are generally undetectable but low or normal values (5-50ng/L) can also be found in these patients (Wallace et al, 2009).

1.5.3.2	Long ACTH stimulation test

In central adrenal insufficiency the adrenal glands become atrophic due to a lack of ACTH stimulation which will cause a blunted response to both short ACTH stimulation tests. In the long test 1mg ACTH depot is given IM on day 1-3 (this recovers the function of the atrophic adrenals). A short standard dose ACTH stimulation test is then done on day 4. If the baseline cortisol at 09:00 on day 4 is < 200nmol/L with no increment after the short test, PAI can be confirmed.

In central adrenal insufficiency an increment of at least 200nmol/L above the baseline could be expected. (Marshall & Bangert, 2008).

1.5.3.3	Renin and aldosterone concentrations

PAI is due to destruction of the adrenal cortex which will lead to decreased secretion of cortisol as well as aldosterone; thus in PAI a low aldosterone concentration with increased renin concentration is typically observed. In central adrenal insufficiency the adrenals are not primarily affected, furthermore aldosterone secretion is not influenced by ACTH; thus normal aldosterone and renin levels are observed in these patients (Wallace et al, 2009)

1.5.3.4	Corticotrophin releasing hormone stimulation test

This test can be done to distinguish between SAI and tertiary adrenal insufficiency. CRH is produced and secreted from the hypothalamus and stimulates the pituitary to release ACTH. In this stimulation test CRH is given IV and the cortisol response is measured at 0, 15, 30 and 60 minutes. Theoretically, a normal response will be found in tertiary adrenal insufficiency but a blunted response is expected in SAI. This test is however not routinely done due to lack of specificity, cost and CRH is not regularly available to use for this application (Wiebke & Bruno, 2003).

1.5.4		Determination of etiology

A proper history and clinical examination will guide further investigation of the adrenal insufficiency. Further testing can include autoantibody determination (autoimmune adrenal insufficiency), computerized tomography (CT) or magnetic resonance (MR) or even an adrenal biopsy. CT or MR of abdomen should be done if PAI is expected and of the hypothalamic pituitary region in the case of SAI.

1.6		Treatment

The cause of the adrenal insufficiency should be established and treated. Treatment of PAI differs from the treatment of SAI and it is therefore critical to differentiate one from the other.

1.6.1		Primary adrenal insufficiency

In patients with PAI mineralocorticoid as well as glucocorticoid production is affected and need to be replaced. Patients diagnosed with PAI will therefore require lifelong therapy with hydrocortisone acetate and 9α fludrocortisone. The adequacy of hydrocortisone therapy is monitored clinically or by serial cortisol determinations throughout the day. Mineralocorticoid treatment on the other hand can be monitored by renin determination (↑ renin indicates under replacement, suppressed renin levels indicate excessive replacement). It is important to increase the dose of hydrocortisone prior to surgery or any other expected stress in order to prevent an adrenal crisis (Marshall & Bangert, 2008).

1.6.2		Secondary adrenal insufficiency

In a patient with central adrenal insufficiency there is no need to replace mineralocorticoids. These patients only require glucocorticoid replacement in the form of cortisone acetate or hydrocortisone acetate.

1.7		Experimental proposal

1.7.1		Problem statement

South Africa is burdened by one of the worst TB epidemics in the world, with disease rates more than double those observed in other developing countries and up to 60 times higher than those currently seen in the United States of America (USA) or Western Europe. The Medical research council (MRC) estimated that the country had an estimated 180 507 cases (55% reported) in 1997, or 419 per 100 000 of the total population. Of these, 32.8% (73 679 cases) were probably infected with HIV (Fourie, 2006). TB is a major public heath problem in South Africa. In 2006, the World Health Organization (WHO) ranked South Africa fifth among the world’s 22 high-burden TB countries. According to the WHO Global TB Report 2009, South Africa had nearly 461,000 new TB cases in 2007, with an incidence rate of 948 cases per 100,000 people – a major increase from 718 per 100,000 in 2004 (WHO, 2009).

The TB epidemic in South Africa is likely to be further exacerbated over the next few years due to human immunodeficiency virus (HIV)/ acquired immunodeficiency syndrome (AIDS). TB-HIV co-infection rates are high, with as many as 60 percent of adult TB patients being HIV-positive. Multidrug-resistant TB (MDR-TB), largely caused by non-adherence to drug regimens or inappropriate drug regimens, is further exacerbating the epidemic. Although South Africa has lagged behind other African countries in terms of HIV incidence (probably because of geographical, social and political barriers), the HIV epidemic has increased rapidly and exponentially during the last 6 years (Fourie, 2006). Thus, TB remains a major role player in the etiology of Addison’s disease in third world countries like South Africa.

The decreasing incidence in Addison’s disease in the first world reflects a decrease in the incidence of tuberculous Addison’s disease, but not that of idiopathic Addison’s, making the idiopathic form predominant in the first world countries. TB remains a major cause of PAI in developing countries. A retrospective and prospective study done in India on patients with PAI revealed that TB was responsible for 47% of the cases (Agarwal et al, 2001).

With these figures in mind it is of great concern that patients with TB are not screened for Addison’s disease more often. The Department of Chemical Pathology at the Dr George Mukhari hospital seldom receive requests to do short ACTH stimulation tests even though the random cortisol values are never sufficient evidence to make the diagnosis of Addison’s disease.

1.7.2		Aim and objectives

1.7.2.1	Aim

To investigate the prevalence of PAI in patients diagnosed with TB at the Dr George Mukhari hospital (DGM) and the Kalafong hospital in South Africa.

1.7.2.2	Specific objectives

- To perform baseline ACTH test on all the patients.

- To perform a short, high dose (250µg), ACTH stimulation test on 73 patients diagnosed with pulmonary tuberculosis (PTB) at the DGM and Kalafong hospitals to screen for PAI.

- To interpret results and determine the incidence of PAI in patients with TB.

1.7.3		Expected significance of the study

The incidence of tuberculous Addison’s disease is on the decrease in first world countries but still remains a problem in developing countries. If the incidence of Addison’s disease in patients infected with TB turns out to be significant in this study it could have serious implications on the investigation and management of these patients by clinicians.

CHAPTER 2

2		Materials and methods

  - Ethical consideration

Patients diagnosed with TB (positive microscopy) at DGM and Kalafong hospitals were included in the study. Approval to perform the study was obtained from the DGM and Kalafong hospital superintendents. Patients signed informed consent prior to inclusion. Specimen identification was by numerical means and no patient names were involved. No information that can be used to trace the patients will be published. The proposal for this mini-dissertation was approved by the Medunsa Research & Ethics Committee (project nr: MREC/P/113/2009:PG) on 5 August 2009.

Clinicians were immediately informed if a patient tested positive for adrenal insufficiency in order to treat the patients as soon as possible. Feedback, regarding the outcome of the study, was given to the clinicians and there is hope that due to this study, patients will be diagnosed and treated appropriately.

  - Study design and site

This was an epidemiological study to determine the prevalence of Addison’s disease in patients with active pulmonary tuberculosis at the Dr George Mukhari hospital and Kalafong hospital in South Africa.

  - Study population and sample size

In order to insure an adequate sample size the expected incidence (5% according to Lam & LO, 2001) was substituted into the Cochran’s sample size formula (Bartlett et al, 2001):

n = 	t2pq

d2

n = Sample size

t = confidence interval

p = expected incidence

q = 1 – p

d = variation

Thus for a 95% confidence interval and a 5% variance the significant sample size was calculated as follows:

n = 1.962 x 0.05 x 0.95

(0.05)2

n = 72.99 pateints

73 Patients diagnosed with TB (positive microscopy) at the DGM and Kalafong hospitals were screened for Addison’s disease by means of a baseline plasma ACTH and a high-dose ACTH stimulation test (procedure explained in methodology).

  - Inclusion criteria

Only adult patients with positive TB microscopy and/or culture were included in the study.

  - Methods

2.5.1		Standard-dose ACTH stimulation test

Baseline plasma ACTH was done on all the patients in order to distinguish primary adrenal insufficiency (↑ACTH) (due to TB) from secondary adrenal insufficiency (↓ACTH) (pituitary cause) and to assess plasma ACTH as a possible tool to make the diagnosis of PAI instead of the ACTH stimulation test.

Two baseline samples (1 for cortisol determination and 1 for ACTH determination) were collected between 08:00 and 09:00am (before synacthen injection). The EDTA tube (for ACTH determination) was stored on ice until it reached the laboratory. 250µg Synachten was given intramuscularly and another specimen (for cortisol determination) was collected after 30 minutes.

A 30 minute cortisol value of <500nmol/L with a plasma ACTH value of ≥100ng/L confirmed the diagnosis of PAI.

    - Laboratory methods

      - Reliability and validity

For the sake of South African National Accreditation System (SANAS) accreditation, all laboratory methods in the National Health laboratory service (NHLS) have been developed with standard operating procedures which automatically include:

- use of standard reference materials

- regular calibration of instruments

- internal and external quality control programs

- validation of methods

The NHLS chemical pathology laboratory at the DGM hospital, where all the specimens were analyzed, was accredited in 2008 by SANAS and reaccredited in 2009.

      - Cortisol determination

Cortisol determination was done on a Beckman Coulter UniCel DxI 800 immunoassay system. The Access Cortisol assay is a paramagnetic particle, chemiluminescent immunoassay for the quantitative determination of cortisol levels in human serum, plasma (heparin, EDTA) and urine using the Access Immunoassay Systems. The Access Cortisol assay is a competitive binding immunoenzymatic assay.

A sample was added to a reaction vessel with rabbit antibody to cortisol, cortisol-alkaline phosphatase conjugate, and paramagnetic particles coated with goat anti-rabbit capture antibody. Cortisol in the sample competed with the cortisol-alkaline phosphatase conjugate for binding sites on a limited amount of specific anti-cortisol antibody. Resulting antigen: antibody complexes bound to the capture antibody on the solid phase. After incubation in a reaction vessel, materials bound to the solid phase were held in a magnetic field while unbound materials were washed away. Then, the chemiluminescent substrate Lumi-Phos* 530 was added to the vessel and light generated by the reaction was measured with a luminometer. The light production is inversely proportional to the concentration of cortisol in the sample. The amount of analyte in the sample is determined from a stored, multi-point calibration curve.

        - Cortisol assay imprecision

The claimed method imprecision as stated by the manufacturer is 6%-7.9%. This implies that the post stimulation cortisol cut-off should ideally be validated by the laboratory doing the test or the laboratory should verify that their method has a bias similar to the method used to establish the cut-off.  The post stimulation cortisol cut-off has however been established by meta- analysis where different methods with different imprecision and bias were used (Wallace et al, 2009)

Determination of laboratory specific cortisol cut-off after synacthen stimulation is therefore beyond the scope of this research and will not be discussed.

      - ACTH determination

ACTH determination was done using the Siemens Immulite 2000 ACTH assay. Immulite 2000 ACTH is a solid-phase, two-site sequential chemiluminescent immunometric assay.

2.5.2.3.1	ACTH assay imprecision

The claimed method imprecision as stated by the manufacturer is between 8.7%- 9.5%.

      - Data analysis

The prevalence was calculated as a percentage of the total sample size.

CHAPTER 3

- Results

A total of 73 patients were included in the study. The patients were admitted either to DGM hospital or Kalafong hospital in Pretoria. The ages ranged from 20 – 91 years (mean = 38 years). 49 Females and 24 males were recruited. All patients had confirmed TB with positive TB microscopy. Sixty eight patients had a normal response with post stimulation cortisol values ranging from 505nmol/L to 1655nmol/L (mean = 794nmol/L). The other 5 patients had a post ACTH stimulation cortisol of less than 500nmol/L (decision limit).

| NUMBER | AGE | SEX | ACTH (ng/L) | 0 MIN S-CORTISOL (nmol/L) | 30 MIN S-CORTISOL (nmol/L) |
| --- | --- | --- | --- | --- | --- |
| 1 |  | M | 75,1 | >1655 | >1655 |
| 2 |  | F | 36 | 760 | 842 |
| 3 |  | F | 175 | 1020 | 1116 |
| 4 |  | F | 46,2 | 340 | 618 |
| 5 |  | F | 17,4 | 915 | 1209 |
| 6 | 20 | F | 13,3 | 459 | 819 |
| 7 | 21 | M | 14,5 | 454 | 746 |
| 8 | 22 | F | 48,1 | 927 | 998 |
| 9 | 22 | F | <9 | 121 | 311 |
| 10 | 22 | F | 11,4 | 328 | 648 |
| 11 | 24 | M | 80,2 | 521 | 696 |
| 12 | 24 | F | 13,5 | 815 | No sample |
| 13 | 24 | M | 45,9 | 356 | 438 |
| 14 | 25 | F | 10,4 | 263 | 492 |
| 15 | 25 | F | 12,7 | 410 | 578 |
| 16 | 25 | F | 31,7 | 716 | 885 |
| 17 | 25 | F | <9 | 375 | 535 |
| 18 | 25 | F | 55,1 | 558 | 850 |
| 19 | 26 | F | 17,6 | 378 | 702 |
| 20 | 26 | F | 20,3 | 597 | 722 |
| 21 | 26 | M | 29,1 | 608 | 874 |
| 22 | 28 | M | 28 | 560 | 901 |
| 23 | 30 | M | 140 | 798 | 831 |
| 24 | 31 | M | 21,4 | 730 | 737 |
| 25 | 31 | F | 35,1 | 230 | 643 |
| 26 | 31 | F | 12,2 | 1133 | 1204 |
| 27 | 31 | F | 162 | 904 | 932 |
| 28 | 31 | F | <9 | 241 | 573 |
| 29 | 31 | F | 32,7 | 440 | 543 |
| 30 | 31 | F | 24,9 | 516 | 735 |
| 31 | 32 | F | 16,5 | 725 | 811 |
| 32 | 32 | F | 13,6 | 641 | 757 |
| 33 | 32 | F | 39,8 | 662 | 795 |
| 34 | 32 | F | 21,8 | 553 | 627 |
| 35 | 32 | F | <9 | 353 | 798 |
| 36 | 35 | F | 47,2 | 489 | 563 |
| 37 | 35 | F | 15,3 | 381 | 725 |
| 38 | 36 | F | 9,1 | 590 | 673 |
| 39 | 36 | M | 47,5 | 678 | 751 |
| 40 | 36 | M | 29,2 | 302 | 440 |
| 41 | 37 | M | <9 | 508 | 834 |

Table 3.1: ACTH and ACTH stimulation test results

| NUMBER | AGE | SEX | ACTH (ng/L) | 0 MIN S-CORTISOL (nmol/L) | 30 MIN S-CORTISOL (nmol/L) |
| --- | --- | --- | --- | --- | --- |
| 42 | 38 | M | 38,6 | 699 | 897 |
| 43 | 38 | M | 26 | 773 | 836 |
| 44 | 39 | M | 28 | 420 | 762 |
| 45 | 40 | F | 31,5 | 452 | 657 |
| 46 | 40 | M | 55,8 | 886 | 986 |
| 47 | 42 | F | 14 | 410 | 785 |
| 48 | 43 | M | 20,1 | 567 | 799 |
| 49 | 43 | M | 22,1 | 341 | 621 |
| 50 | 43 | F | 11,9 | 468 | 852 |
| 51 | 44 | F | 11 | 339 | 910 |
| 52 | 45 | F | 67,8 | 611 | 761 |
| 53 | 45 | F | 11,5 | 238 | 607 |
| 54 | 45 | F | 67,3 | 973 | 1059 |
| 55 | 46 | M | <9 | 307 | 555 |
| 56 | 46 | M | 11 | 353 | 482 |
| 57 | 46 | F | 10,2 | 477 | 668 |
| 58 | 46 | F | 11 | 1037 | 1298 |
| 59 | 46 | F | 27,8 | 579 | 827 |
| 60 | 47 | M | 630 | >1655 | >1655 |
| 61 | 50 | F | 584 | 912 | 1047 |
| 62 | 50 | F | 19,6 | 427 | 704 |
| 63 | 51 | M | 38,4 | 317 | 544 |
| 64 | 52 | M | 21,5 | 257 | 548 |
| 65 | 53 | F | 10,7 | 445 | 706 |
| 66 | 53 | F | 12,6 | 402 | 731 |
| 67 | 53 | F | 25,9 | 1043 | 1492 |
| 68 | 54 | M | 33,6 | 501 | 586 |
| 69 | 55 | F | 83,3 | 833 | 855 |
| 70 | 55 | F | 39,7 | 466 | 872 |
| 71 | 57 | M | 22 | 1108 | 1132 |
| 72 | 72 | F | 34 | 633 | 820 |
| 73 | 91 | F | 9,8 | 192 | 505 |

Table 3.1: ACTH and ACTH stimulation test results

(A 30 minute cortisol value of <500nmol/L with a plasma ACTH value of ≥100ng/L confirmed the diagnosis of PAI)

3.1		Results suggestive of adrenal insufficiency

| AGE | SEX | ACTH (ng/L) | BASELINE CORTISOL (nmol/L) | 30 MINUTE CORTISOL (nmol/L) |
| --- | --- | --- | --- | --- |
| 22 | F | <9 | 121 | 311 |
| 24 | M | 45.9 | 356 | 438 |
| 25 | F | 10.4 | 263 | 492 |
| 46 | M | 11 | 353 | 482 |
| 55 | M | 29.2 | 302 | 440 |

Table 3.2: Positive ACTH stimulation test results

Chapter 4

4.		Discussion

4.1		Overview of the study

TB is a major public heath problem in South Africa. In 2006, the World Health Organization ranked South Africa fifth among the world’s 22 high-burden TB countries. Seventy years ago, it was demonstrated that approximately 70% of patients with PAI was due to TB but currently autoimmune disease accounts for most of the cases presenting outside of the newborn period in first world countries. TB remains a major cause of PAI in developing countries.

The aim of the study was to investigate the prevalence of PAI in patients diagnosed with TB at the DGM and the Kalafong hospital in South Africa. A total of 73 patients were included in the study. The patients were admitted either to DGM hospital or Kalafong hospital in Pretoria. All patients had confirmed TB with positive TB microscopy. A baseline ACTH and a short standard dose ACTH stimulation test was conducted on all patients. ACTH determination was performed using the Siemens Immulite 2000 ACTH assay, whilst cortisol determination was done on a Beckman Coulter UniCel DxI 800 immunoassay system.

  - Prevalence of adrenal insufficiency in the study population

In all forms of adrenal insufficiency the response to the standard dose short ACTH stimulation test (which was conducted here) would be absent or blunted with a post stimulation cortisol concentration of less than 500nmol/L. This test is unable to distinguish between the different types of adrenal insufficiency and additional tests like plasma ACTH should therefore be conducted on patients with a subnormal response.

In patients with PAI the adrenals are unable to produce adequate cortisol, the low cortisol concentration will cause increased hypothalamic and pituitary activity hence high ACTH concentrations (generally > 100ng/L) are expected. In patients with secondary – or tertiary adrenal insufficiency there are hypo-function of the pituitary or hypothalamus respectively hence low or normal ACTH concentrations (5-50ng/L) are usually expected.

Five of the 73 patients (6.85% of the study population) had a blunted response to the ACTH stimulation test which identifies some form of adrenal insufficiency. None of the patients had an increased baseline ACTH concentration. This finding excludes PAI and the normal ACTH concentrations in these 5 patients are highly suggestive of secondary-or tertiary adrenal insufficiency.

The most likely explanation for this finding is either functional hypopituitarism or acquired pituitary insufficiency due to TB. Functional hypopituitarism in these patients can be explained by the active TB infection, however it should be kept in mind that most of the patients diagnosed with TB in South Africa are clinically cachectic and suffer from some degree of malnutrition which is a well known cause of functional hypopituitarism. It should furthermore be appreciated that 69% of TB patients are also infected with HIV and HIV is associated with suppressed pituitary function independent of other associated infections.

The expected prevalence of PAI could not be demonstrated here and the possibility of an inadequate sample size should be considered. The possibility that the prevalence of PAI, due to TB, in South Africa is on the decrease should also be considered. The reason for the apparent decrease of TB induced Addison’s disease could possibly be explained by the fact that TB is diagnosed earlier than before. This prevents adequate disease progression to involve the adrenal glands.

  - Co-incidental findings

Two patients were identified with severely elevated ACTH levels. The ACTH concentrations were markedly raised despite already elevated cortisol concentrations.

| AGE | SEX | ACTH (ng/L) | BASELINE CORTISOL (nmol/L) | 30 MINUTE CORTISOL (nmol/L) |
| --- | --- | --- | --- | --- |
| 50 | F | 584 | 912 | 1047 |
| 47 | M | 630 | >1655 | >1655 |

Table 4.1: Results suggestive of ACTH dependent Cushing’s

These results are highly suggestive of an ACTH dependent Cushing’s syndrome and further investigation to establish the cause (central ACTH production or ectopic ACTH secretion) is required. Clinicians were made aware of these patients for further investigation.

CHAPTER 5

- Conclusion

Seven percent of patients diagnosed with TB at the DGM- and Kalafong hospitals suffer from secondary- or tertiary adrenal insufficiency and could potentially benefit from glucocorticoid therapy. Clinicians should therefore have a high index of suspicion in these patients. Further investigation, which is beyond the scope of this study, is however required to establish the definite cause of the adrenal insufficiency in these patients.

PAI, due to TB, seems to be on the decrease but a larger sample size is necessary to confirm this finding.

CHAPTER 6

- References

Agarwal, G., Bhatia, E., Pandey, R. & Jain, S.K. 2001. Clinical profile and prognosis of Addison’s disease in India. National medical journal of India, 14, 23-25.

Baker, R.W., Zumla, A. & Rook, G.A.W. 1996. Tuberculosis, steroid metabolism and immunity. Oxford Journal of Medicine, 89, 387-394.

Bartlett, J.E., Kortlik, J.W. & Higgins, C.C. 2001. Organizational research: Determining appropriate sample size in survey research. Information Technology, Learning, and Performance  Journal 19,  43-50.

Doi, S.A.R., Lasheen, I., Al-Humood, K. & Al-Shoumer, K.A.S. 2006. Relationship between Cortisol increment and basal cortisol: Implications for the low-dose short adrenocorticotropic hormone stimulation test. Clinical Chemistry, 52, 746-749.

Dorin, R.I., Qualls, C.R. & Crapo, L.M. 2003. Diagnasis of Adrenal Insufficiency. Annals of Internal Medicine, 139, 194-204.

Fourie, B. ‘The burden of tuberculosis in South Africa’. SA Healthinfo. [www.sahealthinfo.org/tb/tbburden.htm](2006). July 2008.

Grinspoon, S.K. & Biller, B.M.K. 1994. Laboratory assessment of Adrenal Insufficiency. Journal of Clinical Endocrinology 79, 923-931.

Guyton, A.C. & Hall, J.E. 2000. Textbook of medical physiology. 10th edition. Philadelphia. W.B. Sanders company.

Kelestimur. F. 2004. The endocrinology of adrenal tuberculosis: The effects of tuberculosis on the hypothalamo-pituitary-adrenal axis and adrenocortical function. Journal of Endocrinological Investigation 27, 380-386.

Lam, K.Y. & Lo, C.Y.2001. A critical examination of adrenal tuberculosis and a 28-year autopsy experience of active tuberculosis. Clinical Endocrinology 54, 633-639.

Marshall, W.J. & Bangert, S.K. 2008. Clinical Chemistry. 6th edition. London:Mosby Elsevier.

Nieman, L.K., Chanco. & Turner, M.L.2006. Addison’s disease. Clinics of Dermatology 24, 276-280.

Oelkers, W.1996. Adrenal insufficiency. New England Journal of Medicine 335, 1206-1212.

Soule, S.1999. Addison’s disease in Africa. Clinical Endocrinology 50, 115-120.

Thaler, L.M. & Blevins, L.S. 1998. The low dose (1-ug) adrenocorticotropin stimulation test in the evaluation of patients with suspected central adrenal insufficiency. Journal of Clinical Endocrinology and Metabolism 83, 2726-2729.

Ten, S., New, M. & Maclaren, N.2001. Addison’s disease 2001. The Journal of Clinical endocrinology & Metabolism 86, 2909-2922.

Wallace, I., Cunningham, S. & Lindsay, J. 2009. The diagnosis of adrenal insufficiency in adults. Annals of Clinical Biochemistry 46, 351-367.

Wiebke, A. & Bruno, A. 2003. Adrenal insufficiency. The Lancet 361, 1881-1893.

Wikipedia.“Renin – angiotensin - aldosterone system” [http://commons.wikimedia.org/wiki/File:Renin-angiotensin-aldosterone_system.png] (2006) accessed 8 September 2010.

Wikipedia. “Steroidogenesis (original).svg“ [http://commons.wikimedia.org/wiki/File:Steroidogenesis_(original).svg] (2008) accessed 8 September 2010.

World Health Organization. ‘Global tuberculosis control 2009 – surveillance,planning,financing.’ [www.who.int/tb/publications/global_report/2009/pdf/full_report.pdf] (2009) accessed 25 Aug 2010.